Accounting Point Grid Location

The electrical (topological) location of an accounting point in the common grid model (Nemo). Since a controllable unit is always behind an accounting point, this also gives the grid location for all controllable units connected to that accounting point.

The connecting system operator (CSO) is responsible for registering and maintaining the grid location. Another system operator may also register a grid location, but only when the current entry is missing or has been set by the system or guessed by another system operator.

For more information about how grid location works and the data model behind it, see Accounting Point Grid Location.

Relevant links

- API Documentation

- Download docx

Fields

| Name | Description | Format | Reference |
| --- | --- | --- | --- |
| id | Unique surrogate key. | bigintRead only |  |
| accounting_point_id | The accounting point this grid location belongs to. | bigintRequiredNon-updatable | accounting_point.id |
| object_type | The type of object in the common grid model that the accounting point is at. | textOne of: substation, transformerRequired |  |
| business_id | Business identifier (mRID) referencing the object in the common grid model. | textPattern: ^[0-9a-fA-F]{8}-[0-9a-fA-F]{4}-[0-9a-fA-F]{4}-[0-9a-fA-F]{4}-[0-9a-fA-F]{12}$ |  |
| name | Name of the grid model object at the location. | textRequiredMax length: 512 |  |
| nominal_voltage | Nominal voltage level at the grid location, in kilovolt (kV). | decimalRequiredMin: 0Max: 999999.999Multiple of: 0.001 |  |
| additional_information | Free text field for extra information about the grid location if needed. | text |  |
| source | How the grid location was determined. When a system operator creates or updates a grid location, this field is set automatically: cso if the SO is the connecting system operator, so otherwise. | textOne of: cso, so, grid_model, systemRead only |  |
| quality | The quality of the grid location registration. | textOne of: confirmed, guessedRequired |  |
| recorded_at | When the resource was recorded (created or updated) in the system. | date-timeRead only |  |
| recorded_by | The identity that recorded the resource. | bigintRead only |  |

Validation Rules

| Validation rule key | Validation rule | Status |
| --- | --- | --- |
| APGL-VAL001 | Updates to the grid location are only allowed based on the current source value. See transition table below. | DONE |
| APGL-VAL002 | quality=confirmed is only permitted when source is cso, so or grid_model. | DONE |

APGL-VAL001 source transition table

The table shows which new source values are permitted given the current value of the record. yes means the transition is allowed, no means it is denied.

| Current ↓ New → | grid_model | cso | so | system |
| --- | --- | --- | --- | --- |
| grid_model | yes | no | no | no |
| cso | yes | yes | no | no |
| so | yes | yes | yes | no |
| system | yes | yes | yes | yes |
| missing | yes | yes | yes | yes |

Notifications

| Action | Recipient | Comment |
| --- | --- | --- |
| create, update | Connecting SO |  |
| create, update | Procuring SO on CU |  |

Authorization

Resource Level Authorization

Below is the RLA for the resource. The default policy is deny.

Anonymous

No policies.

Common

No policies.

Balance Responsible Party

No policies.

End User

No policies.

Energy Supplier

No policies.

Flexibility Information System Operator

| Policy key | Policy | Status |
| --- | --- | --- |
| APGL-FISO001 | Create, read and update all accounting point grid locations. | DONE |
| APGL-FISO002 | Read all accounting point grid location history. | DONE |

Organisation

No policies.

System Operator

| Policy key | Policy | Status |
| --- | --- | --- |
| APGL-SO001 | Create, read and update accounting point grid locations where they are CSO, ISO or PSO. | DONE |
| APGL-SO002 | Read history on accounting point grid locations where they are CSO, ISO or PSO. | DONE |

Service Provider

No policies.

Third Party

No policies.

Field Level Authorization

For party type abbreviations, check the authentication docs.

| FIELD | ANON | BRP | ES | EU | FISO | SO | SP | TP | ORG |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| id |  |  |  |  | R | R |  |  |  |
| accounting_point_id |  |  |  |  | RC | RC |  |  |  |
| object_type |  |  |  |  | RCU | RCU |  |  |  |
| business_id |  |  |  |  | RCU | RCU |  |  |  |
| name |  |  |  |  | RCU | RCU |  |  |  |
| nominal_voltage |  |  |  |  | RCU | RCU |  |  |  |
| additional_information |  |  |  |  | RCU | RCU |  |  |  |
| source |  |  |  |  | R | R |  |  |  |
| quality |  |  |  |  | RCU | RCU |  |  |  |
| recorded_at |  |  |  |  | R | R |  |  |  |
| recorded_by |  |  |  |  | R | R |  |  |  |